## freezer_faults_info
freezer_id | registered_date | main_fault | Fault categories
806017 | 2015-02-13 | compressor_stage_2 malfunctional | 2nd stage compressor
806017 | 2022-08-22 | High condensation water | High condensation (No fix)
806017 | 2015-03-19 | Refrigerant leakage at stage 1 | Refrigerant leakage
806018 | 2022-10-04 | Refrigerant leakage at stage 1 | Refrigerant leakage
806018 | 2022-08-22 | warm_alarm | Electrical malfunction
806018 | 2022-12-05 | warm_alarm | Unstable operation (No fix)
806018 | 2023-02-06 | warm_interstage | Unstable operation (No fix)
806020 | 2022-08-22 | electric_wiring | Electrical malfunction
806023 | 2015-04-21 | Refrigerant leakage at stage 1 | Data missing
806023 | 2016-12-16 | main_board | Data missing
806023 | 2017-05-10 | OS_update | Data missing
806024 | 2015-11-04 | compressor_stage_2 | 2nd stage compressor
806026 | 2016-08-11 | setpoint_change | Wrong setpoint
806026 | 2022-07-19 | compressor_stage_2 piston sticking | 2nd stage compressor
806026 | 2016-06-09 | compressor_stage_2 | 2nd stage compressor
806029 | 2021-03-09 | Bad insulation | Bad insulation
806030 | 2015-01-28 | Refrigerant leakage at stage 2 | Refrigerant leakage
806030 | 2022-08-30 | Water valve adjustment | Unstable operation (No fix)
806031 | 2017-02-23 | compressor_stage_2 malfunctional | 2nd stage compressor
806031 | 2017-09-20 | logic_wiring | Electrical malfunction
806031 | 2023-02-03 | filter_drier | Bad insulation
806033 | 2016-03-21 | compressor_stage_2 malfunctional | 2nd stage compressor
806033 | 2021-08-06 | battery | Electrical malfunction
806265 | 2022-09-21 | handle_tightening | Door tightness
806269 | 2015-05-19 | relay | Electrical malfunction
806269 | 2015-07-03 | compressor_stage_2 malfunctional | 2nd stage compressor
806272 | 2015-03-03 | compressor_stage_1 malfunctional | 1st stage compressor
806273 | 2015-11-24 | Refrigerant leakage at stage 1 | Refrigerant leakage
806274 | 2017-03-07 | Refrigerant leakage at stage 1 | Refrigerant leakage
806276 | 2015-03-17 | Refrigerant leakage at stage 1 | Refrigerant leakage
806276 | 2015-07-09 | door_adjustment | Door tightness
806276 | 2016-12-16 | compressor_stage_1 malfunctional | 1st stage compressor (No fix)
806276 | 2017-09-20 | compressor_stage_1 malfunctional | 1st stage compressor
806276 | 2022-10-25 | compressor_stage_1 malfunctional | 1st stage compressor
806277 | 2022-10-03 | instability | Unstable operation (No fix)
806277 | 2022-10-24 | instability | Unstable operation (No fix)
806277 | 2023-04-12 | Refrigerant leakage at stage 1 | Refrigerant leakage
806278 | 2022-04-19 | Refrigerant leakage at stage 1 | Refrigerant leakage
806279 | 2017-03-15 | compressor_stage_1 malfunctional | 1st stage compressor
806279 | 2022-06-28 | Refrigerant leakage at stage 1 | Refrigerant leakage
806279 | 2022-08-22 | High condensation water | High condensation (No fix)
806281 | 2014-07-29 | Refrigerant leakage at stage 1 | Data missing
806282 | 2023-04-12 | Refrigerant leakage at stage 1 | Refrigerant leakage
806283 | 2022-08-30 | fuse_blown | Electrical malfunction
808301 | 2022-10-06 | display | Electrical malfunction
808783 | 2021-09-14 | Refrigerant leakage at stage 1 | Refrigerant leakage

## Fault categories
Fault categories | Count of Fault categories
Wrong setpoint | 1
Bad insulation | 2
Door tightness | 2
High condensation | 2
Data missing | 4
Unstable operation | 5
1st stage compressor | 5
2nd stage compressor | 7
Electrical malfunction | 7
Refrigerant leakage | 11